# Spare Part List

| Type number | Machine description | Date |
| --- | --- | --- |
| 2063402-06 | OP G-HERD 4 | Jan 24, 2005 |

|  | Spare part | Replaced by | Description |  | Quantity | Unit | Price* |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 866660 |  | stop valve; R3/4"; w. screw connect |  | 1.0 | ST | 63.90 € |
|  | 101120 |  | hexagon head cap screw; M4 x 15 |  | 4.0 | ST | 0.50 € |
|  | 101127 |  | hexagon head cap screw; M4 x 8 |  | 4.0 | ST | 0.50 € |
|  | 101410 |  | hexagon head cap screw; M6 x 20 |  | 8.0 | ST | 0.50 € |
|  | 113082 |  | hexagon nut m4 |  | 10.0 | ST | 0.50 € |
|  | 113091 |  | hexagon nut m6 |  | 2.0 | ST | 0.50 € |
|  | 118005 |  | pan-head screw; M4 x 10 |  | 11.0 | ST | 0.50 € |
|  | 120017 |  | washer ø 4,3 mm |  | 8.0 | ST | o.r. |
|  | 120027 |  | washer ø 6,4 mm |  | 5.0 | ST | 0.50 € |
|  | 120030 |  | washer ø 6,4 mm |  | 12.0 | ST | 0.50 € |
|  | 121031 |  | spring lock washer 4 |  | 14.0 | ST | o.r. |
|  | 121033 |  | spring lock washer 6 |  | 13.0 | ST | 0.50 € |
|  | 201040 |  | pilot burner cover | * | 4.0 | ST | 8.80 € |
|  | 201102 |  | burner head C |  | 2.0 | ST | 143.20 € |
|  | 201104 |  | burner head D |  | 1.0 | ST | 151.50 € |
|  | 201136 |  | coaxial tap; M15 x 1; f. burner E; nat. gas |  | 1.0 | ST | 98.90 € |
|  | 201137 |  | coaxial tap; M15 x ;1 f. burner C; nat. gas |  | 2.0 | ST | 96.90 € |
|  | 201148 |  | coaxial tap; M15 x 1; f. burner D; nat. gas |  | 1.0 | ST | 98.90 € |
|  | 201159 |  | stop valve; R3/4" |  | 1.0 | ST | 57.40 € |
|  | 201524 |  | hexagon nut; M8 x 1; flat |  | 4.0 | ST | 0.50 € |
|  | 201525 |  | cap nut; M8 x 1 |  | 4.0 | ST | 2.10 € |
|  | 201532 |  | thermocouple; M8 x 1, 1000mm | * | 4.0 | ST | 26.80 € |
|  | 201618 |  | burner lid C; 78mm | * | 2.0 | ST | 29.90 € |
|  | 201661 |  | burner lid D; 87mm | * | 1.0 | ST | 32.50 € |
|  | 201694 |  | inner nozzle 200 | * | 3.0 | ST | 6.70 € |
|  | 201695 |  | inner nozzle 115 | * | 1.0 | ST | 6.70 € |
|  | 201697 |  | inner nozzle 120 | * | 1.0 | ST | 10.90 € |
|  | 201766 |  | mixing pipe f. burner E |  | 1.0 | ST | 81.90 € |
|  | 201767 |  | mixing pipe insert; ø 16 - 100mm inner; E-burner |  | 1.0 | ST | 49.00 € |
|  | 201768 |  | burner head E |  | 1.0 | ST | 159.70 € |
|  | 201769 |  | burner lid E | * | 1.0 | ST | 40.20 € |
|  | 201770 |  | inner nozzle 130 | * | 1.0 | ST | 5.70 € |
|  | 201772 |  | nozzle carrier f. burner E |  | 1.0 | ST | 32.50 € |
|  | 201773 |  | outer nozzle 230 | * | 5.0 | ST | 8.80 € |
|  | 201796 |  | low level nozzle 040 |  | 5.0 | ST | 6.70 € |
|  | 201797 |  | low level nozzle 050 |  | 5.0 | ST | 6.70 € |
|  | 201798 |  | low level nozzle 060 |  | 5.0 | ST | 6.70 € |
|  | 201805 |  | pilot burner nozzle 035 | * | 9.0 | ST | 5.70 € |
|  | 201820 |  | pilot burner w. fitting | * | 4.0 | ST | 50.50 € |
|  | 201821 |  | pilot burner nozzle 020 | * | 6.0 | ST | 5.70 € |
|  | 201823 |  | inner nozzle 090 | * | 1.0 | ST | 6.70 € |
|  | 201831 |  | outer nozzle 155 | * | 5.0 | ST | 8.80 € |
|  | 201832 |  | inner nozzle 135 | * | 3.0 | ST | 6.70 € |
|  | 201834 |  | inner nozzle 080 | * | 1.0 | ST | 6.20 € |
|  | 201836 |  | outer nozzle 205 | * | 5.0 | ST | 8.80 € |
|  | 201837 |  | inner nozzle 185 | * | 3.0 | ST | 6.70 € |
|  | 201839 |  | inner nozzle 105 | * | 1.0 | ST | 6.70 € |
|  | 201842 |  | burner connection bend; short |  | 4.0 | ST | 73.70 € |
|  | 201845 |  | mixing pipe f. burner C and D |  | 3.0 | ST | 43.30 € |
|  | 201863 |  | mixing pipe insert; ø 12 - 90mm inner; burner C |  | 2.0 | ST | 15.50 € |
|  | 201864 |  | mixing pipe insert; ø 14 - 90mm inner; burner D |  | 1.0 | ST | 15.00 € |
|  | 203452 |  | centre grommet f. ø 20,4mm |  | 1.0 | ST | 0.50 € |
|  | 204343 |  | conduit; 10 - 10mm; rear |  | 1.0 | ST | 52.10 € |
|  | 204352 |  | square foot pipe and insert; 40mm; 187mm h; set |  | 1.0 | SA | o.r. |
|  | 204457 |  | pipe joint; mixing pipe and burner |  | 2.0 | ST | 15.00 € |
|  | 204476 |  | conduit; 30 - 30mm |  | 1.0 | ST | 44.90 € |
|  | 205087 |  | elbow; R3/4" i - R3/4" o |  | 1.0 | ST | 17.60 € |
|  | 206001 |  | cooking grid; 370 x 550mm |  | 2.0 | ST | 272.00 € |
|  | 208025 |  | snap nut; M4 | * | 17.0 | ST | 1.50 € |
|  | 209060 |  | label -gas adjustment- |  | 1.0 | ST | 1.00 € |
|  | 209090 |  | label -potential equalization- |  | 1.0 | ST | 0.50 € |
|  | 209205 |  | plug-in label; MKN; 31,8mm |  | 1.0 | ST | 6.20 € |
|  | 209282 |  | control knob; 0 - 150 | * | 4.0 | ST | 19.50 € |
|  | 211018 |  | o-ring seal; 32,2 x 3mm | * | 4.0 | ST | 2.10 € |
|  | 211020 |  | flat gasket f. burner C and D | * | 3.0 | ST | 8.30 € |
|  | 211021 |  | flat gasket f. burner E | * | 1.0 | ST | 8.80 € |
|  | 211036 |  | cover cap; ø 18,4 - 20,6mm |  | 1.0 | ST | o.r. |
|  | 214094 |  | flat ring packing; 21 x 26 - 1,5mm |  | 1.0 | ST | 1.00 € |
|  | 475002 |  | copper pipe 4 x 0,75 mm; 400 mm long | * | 2.0 | ST | 3.10 € |
|  | 885485 |  | cable duct |  | 1.0 | ST | 34.00 € |

## Info

|  | Spare part | Replaced by | Description |  | Quantity | Unit | Price* |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DUESENBESTUECKUNG |  |  |  |  |  |  |  |
| ERDGAS E/H 20 MBAR C-BRENNER |  |  |  |  |  |  |  |
|  | 201796 |  | low level nozzle 040 |  | 1.0 | ST | 6.70 € |
|  | 201832 |  | inner nozzle 135 | * | 1.0 | ST | 6.70 € |
|  | 201831 |  | outer nozzle 155 | * | 1.0 | ST | 8.80 € |
|  | 201805 |  | pilot burner nozzle 035 | * | 1.0 | ST | 5.70 € |
| ERDGAS E/H 20 MBAR D-BRENNER |  |  |  |  |  |  |  |
|  | 201797 |  | low level nozzle 050 |  | 1.0 | ST | 6.70 € |
|  | 201837 |  | inner nozzle 185 | * | 1.0 | ST | 6.70 € |
|  | 201836 |  | outer nozzle 205 | * | 1.0 | ST | 8.80 € |
|  | 201805 |  | pilot burner nozzle 035 | * | 1.0 | ST | 5.70 € |
| ERDGAS E/H 20 MBAR E-BRENNER |  |  |  |  |  |  |  |
|  | 201798 |  | low level nozzle 060 |  | 1.0 | ST | 6.70 € |
|  | 201694 |  | inner nozzle 200 | * | 1.0 | ST | 6.70 € |
|  | 201773 |  | outer nozzle 230 | * | 1.0 | ST | 8.80 € |
|  | 201805 |  | pilot burner nozzle 035 | * | 1.0 | ST | 5.70 € |
| ERDGAS LL 20 MBAR C-BRENNER |  |  |  |  |  |  |  |
|  | 201796 |  | low level nozzle 040 |  | 1.0 | ST | 6.70 € |
|  | 201832 |  | inner nozzle 135 | * | 1.0 | ST | 6.70 € |
|  | 201831 |  | outer nozzle 155 | * | 1.0 | ST | 8.80 € |
|  | 201805 |  | pilot burner nozzle 035 | * | 1.0 | ST | 5.70 € |
| ERDGAS E/H 20 MBAR D-BRENNER |  |  |  |  |  |  |  |
|  | 201797 |  | low level nozzle 050 |  | 1.0 | ST | 6.70 € |
|  | 201837 |  | inner nozzle 185 | * | 1.0 | ST | 6.70 € |
|  | 201836 |  | outer nozzle 205 | * | 1.0 | ST | 8.80 € |
|  | 201805 |  | pilot burner nozzle 035 | * | 1.0 | ST | 5.70 € |
| ERDGAS E/H 20 MBAR E-BRENNER |  |  |  |  |  |  |  |
|  | 201798 |  | low level nozzle 060 |  | 1.0 | ST | 6.70 € |
|  | 201694 |  | inner nozzle 200 | * | 1.0 | ST | 6.70 € |
|  | 201773 |  | outer nozzle 230 | * | 1.0 | ST | 8.80 € |
|  | 201805 |  | pilot burner nozzle 035 | * | 1.0 | ST | 5.70 € |
| ERDGAS L 25 MBAR C-BRENNER |  |  |  |  |  |  |  |
|  | 201796 |  | low level nozzle 040 |  | 1.0 | ST | 6.70 € |
|  | 201832 |  | inner nozzle 135 | * | 1.0 | ST | 6.70 € |
|  | 201831 |  | outer nozzle 155 | * | 1.0 | ST | 8.80 € |
|  | 201805 |  | pilot burner nozzle 035 | * | 1.0 | ST | 5.70 € |
| ERDGAS L 25 MBAR D-BRENNER |  |  |  |  |  |  |  |
|  | 201797 |  | low level nozzle 050 |  | 1.0 | ST | 6.70 € |
|  | 201837 |  | inner nozzle 185 | * | 1.0 | ST | 6.70 € |
|  | 201836 |  | outer nozzle 205 | * | 1.0 | ST | 8.80 € |
|  | 201805 |  | pilot burner nozzle 035 | * | 1.0 | ST | 5.70 € |
| ERDGAS L 25 MBAR E-BRENNER |  |  |  |  |  |  |  |
|  | 201798 |  | low level nozzle 060 |  | 1.0 | ST | 6.70 € |
|  | 201694 |  | inner nozzle 200 | * | 1.0 | ST | 6.70 € |
|  | 201773 |  | outer nozzle 230 | * | 1.0 | ST | 8.80 € |
|  | 201805 |  | pilot burner nozzle 035 | * | 1.0 | ST | 5.70 € |
| FLUESSIGGAS 50 MBAR C-BRENNER |  |  |  |  |  |  |  |
|  | 201796 |  | low level nozzle 040 |  | 1.0 | ST | 6.70 € |
|  | 201834 |  | inner nozzle 080 | * | 1.0 | ST | 6.20 € |
|  | 201831 |  | outer nozzle 155 | * | 1.0 | ST | 8.80 € |
|  | 201821 |  | pilot burner nozzle 020 | * | 1.0 | ST | 5.70 € |
| FLUESSIGGAS 50 MBAR D-BRENNER |  |  |  |  |  |  |  |
|  | 201797 |  | low level nozzle 050 |  | 1.0 | ST | 6.70 € |
|  | 201839 |  | inner nozzle 105 | * | 1.0 | ST | 6.70 € |
|  | 201836 |  | outer nozzle 205 | * | 1.0 | ST | 8.80 € |
|  | 201821 |  | pilot burner nozzle 020 | * | 1.0 | ST | 5.70 € |
| FLUESSIGGAS 50 MBAR E-BRENNER |  |  |  |  |  |  |  |
|  | 201798 |  | low level nozzle 060 |  | 1.0 | ST | 6.70 € |
|  | 201697 |  | inner nozzle 120 | * | 1.0 | ST | 10.90 € |
|  | 201773 |  | outer nozzle 230 | * | 1.0 | ST | 8.80 € |
|  | 201821 |  | pilot burner nozzle 020 | * | 1.0 | ST | 5.70 € |
| FLUESSIGGAS 30 MBAR C-BRENNER |  |  |  |  |  |  |  |
|  | 201796 |  | low level nozzle 040 |  | 1.0 | ST | 6.70 € |
|  | 201823 |  | inner nozzle 090 | * | 1.0 | ST | 6.70 € |
|  | 201831 |  | outer nozzle 155 | * | 1.0 | ST | 8.80 € |
|  | 201821 |  | pilot burner nozzle 020 | * | 1.0 | ST | 5.70 € |
| FLUESSIGGAS 30 MBAR D-BRENNER |  |  |  |  |  |  |  |
|  | 201797 |  | low level nozzle 050 |  | 1.0 | ST | 6.70 € |
|  | 201695 |  | inner nozzle 115 | * | 1.0 | ST | 6.70 € |
|  | 201836 |  | outer nozzle 205 | * | 1.0 | ST | 8.80 € |
|  | 201821 |  | pilot burner nozzle 020 | * | 1.0 | ST | 5.70 € |
| FLUESSIGGAS 30 MBAR E-BRENNER |  |  |  |  |  |  |  |
|  | 201798 |  | low level nozzle 060 |  | 1.0 | ST | 6.70 € |
|  | 201770 |  | inner nozzle 130 | * | 1.0 | ST | 5.70 € |
|  | 201773 |  | outer nozzle 230 | * | 1.0 | ST | 8.80 € |
|  | 201821 |  | pilot burner nozzle 020 | * | 1.0 | ST | 5.70 € |

Price* - EXW Wolfenbuettel (Incoterms 2000), unpacked. Without installationInsurance, customs duty and taxes, if any, unpaid. - subject to alteration of prices - Suggested spare parts to buy ahead.